Equipment Logbook: Metal Detector

Header Section

|  | Field | Details |
| --- | --- | --- |
| 1 | Equipment Name | Pharmaceutical Metal Detector |
| 2 | Equipment ID No. | MD-01 |
| 3 | Manufacturer / Model | Loma Systems / IQ4 Lock-PH |
| 4 | Serial Number | LOM-MD-2021-7811 |
| 5 | Location / Room No. | Attached to TCP-01, Compression Suite C-101 |
| 6 | Logbook Document No. | LOG-USE-MD-01 |
| 7 | Governing SOPs | Use: SOP/OP/MD/001, Cleaning: SOP/CL/MD/001 |

Log Entries (Chronological record of all activities)

Page No: 16 of 50

| # | Date | Start Time | End Time | Product Name | Batch No. / Work Order | Activity / Operation | Comments / Reference | Performed By | Verified By |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 18-Mar-25 | 08:45 | 09:00 | Aspirin Tablets 325mg | ASP-25-001 | Cleaning (Product Changeover) | Visually clean. Ready for use. | Anil Sharma | Sunil Verma |
| 2 | 18-Mar-25 | 10:40 | 16:20 | Aspirin Tablets 325mg | ASP-25-002 | Production Use | Challenge tests performed per schedule. Ref: BMR Section 8.1 | Anil Sharma | Sunil Verma |
| 3 | 18-Mar-25 | 22:00 | 22:15 | Aspirin Tablets 325mg | ASP-25-002 | Cleaning (Post-Use) | Cleaned as per SOP. | Alok Gupta | Nisha Patel |
| 4 | 19-Mar-25 | 07:45 | 07:50 | N/A | N/A | Routine Morning Inspection | No issues observed. | Anil Sharma | Sunil Verma |

Page Review Section (At the bottom of every page)

| Reviewed By (QA) | Signature | Date |
| --- | --- | --- |
| Meena Iyer | Meena Iyer | 20-Mar-2025 |