Environmental Monitoring Log

NovaThera Pharmaceuticals Pvt. Ltd.

Quality Assurance Department

Document No: LOG-ENV-P101

Area / Room ID: Packaging Suite P-101

Date: 22-Mar-2025

Associated Batch: ASP-25-002

Section 2: Acceptance Criteria

Differential Pressure: 10.0 Pa - 15.0 Pa

Temperature: 20.0°C - 25.0°C

Relative Humidity: Not More Than 60%

Section 3: Log Entries

|  | Time | Pressure (Pa) | Temp (°C) | RH (%) | Performed By |
| --- | --- | --- | --- | --- | --- |
| 1 | 07:45 | 12.8 | 22.2 | 46 | Sunita Rao |
| 2 | 09:00 | 12.8 | 22.2 | 47 | Sunita Rao |
| 3 | 10:00 | 12.8 | 22.2 | 48 | Sunita Rao |
| 4 | 11:00 | 12.8 | 22.2 | 49 | Sunita Rao |
| 5 | 12:00 | 12.8 | 22.2 | 50 | Sunita Rao |
| 6 | 13:00 | 12.8 | 22.2 | 51 | Sunita Rao |
| 7 | 14:00 | 12.8 | 22.2 | 52 | Sunita Rao |
| 8 | 15:00 | 12.8 | 22.2 | 53 | Sunita Rao |
| 9 | 16:30 | 12.8 | 22.2 | 54 | Sunita Rao |

Section 5: Daily Review

All parameters remained within specified limits throughout the primary packaging of Batch ASP-25-002.

Reviewed By: Karan Joshi (Packaging Supervisor)

Date: 23-Mar-2025