Environmental Monitoring Log (Airlock AL-P101)

Logbook ID: LOG-ENV-AL-P101

Area ID: Airlock AL-P101

Date: 22-Apr-2025

Specifications: Temp: 20-25°C, RH: NMT 60%, Pressure: 10-15 Pa

| Time | Differential Pressure (Pa) | Temperature (°C) | Relative Humidity (%) | Performed By ¦ Verified By ¦ Comments |  |
| --- | --- | --- | --- | --- | --- |
| 7:30 | 12.5 | 22.1 | 46 | Sunita Rao ¦ Karan Joshi ¦ Pre-staging environmental check. |  |
| 8:00 | 12.6 | 22.2 | 47 | Sunita Rao ¦ Karan Joshi ¦ During material staging. |  |
| 8:15 | 12.5 | 22.1 | 46 | Sunita Rao ¦ Karan Joshi ¦ Post-transfer environmental check. |  |

Environmental Monitoring Log (Staging Area SA-P101)

Logbook ID: LOG-ENV-SA-P101

Area ID: Staging Area SA-P101

Date: 23-Apr-2025

Specifications: Temp: 20-25°C, RH: NMT 60%

| Time | Differential Pressure (Pa) | Temperature (°C) | Relative Humidity (%) | Performed By ¦ Verified By ¦ Comments |  |
| --- | --- | --- | --- | --- | --- |
| 7:30 | 12.5 | 22.3 | 48 | Sunita Rao ¦ Karan Joshi ¦ Pre-staging environmental check. |  |
| 8:00 | 12.6 | 22.4 | 49 | Sunita Rao ¦ Karan Joshi ¦ During material staging. |  |
| 8:30 | 12.5 | 22.3 | 48 | Sunita Rao ¦ Karan Joshi ¦ Post-transfer environmental check. |  |

System-Generated Document – For GMP Use Only